MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

DISTRIBUTION

6way panel board			PBJG640				MEM Ltd

200amp main switch		GLK3250KS17			Reddings Lane

100amp TP MCCB			GEE3100FFG			Birmingham

200amp TP MCCB			GJS3200AAG			B11 3EZ

24way TPN board			BM242

200amp main switch		BMS2003				Tel: 08700 545333

16amp SP MCB B			MBH116				Fax:08700 540333

32amp SP MCB B			MBH132

20amp SP MCB C			MCH120

32amp SP MCB C			MCH132

16amp TP MCB C			MCH316

FIRE ALARM

16 zone panel			XFP501/X				G-Security

2.8amp battery			Y2.8-12				Unit 3

Optical smoke detector		XP95					Durley Park Close

Heat detector			XP95					North Cheshire –

Call point				55100-908				Trading Estate

Sounder beacon			55000-293				Prenton

Sounder				55000-001				Wirral

Integrated base sounder		45681-277				CH43 3DZ

Base					XP95

Input/output switch			XP95					Tel: 0151 6091770

Fax:0151 6091635

MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

EMERGENCY LIGHTING

NM fully recessed White		BFL8/NM/WH			Base Lighting

NM fully recessed Chrome		BFL8/NM/CH				Unit 7

M recessed blade Chrome		BREX8/M/CH			High Carr Bus. Park

Newcastle under Lyme

Staffordshire

ST5 7XE

Tel: 0870 7576561

Fax:0870 7576562

M exit box White			EXITBOX				Eterna Lighting

Unit 1

Kingsfield Bus. Park

Gladstone Road

Northampton

NN5 7PP

Tel: 01604 596470

Fax:01604 596479

M exit box White			NL9968				Newey & Eyre

Legend				NL5857N				Argyle Ind. Estate

Appin Road

Birkenhead

Wirral

CH41 9HH

Tel: 0151 6661527

Fax:0151 6500744

MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

LIGHTING

600 x 600 recessed modular	TREM66418				Tamlite Lighting

As above but emergency		TREM66418EM			The Sales Centre

600 x 600 prismatic diffuser	FPP66E				Park Farm Ind. Estate

LV downlight Chrome		TD-L109PC				Redditch

Worcestershire

B98 0HU

Tel: 01527 517777

Fax:01527 517666

Small recessed LED		GL018				Collingwood Lighting

Driver					PDC20/24				Brooklands House

Sywell Aerodrome

Sywell

Northants

NN6 0BT

Tel: 01604 495151

Fax:01604 495095

LED strip/ribbon			FRX12WW				Excled Ltd

Barrell connector			PC-BARREL				Unit 4

Power supply			12TR50				Lower Wharf

Power cord				PC-FIG8				Wallbridge

Stroud

Gloucestershire

GL5 3JT

Tel: 01453 756361

Fax:01453 756505

MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

LV IP downlight chrome		R32C					Si-lite

Unit 12

Vinehall Bus. Centre

Mountfield

Robertsbridge

Essex

TN32 5JW

Tel: 01424 870000

Fax:01424 871111

AR70 light				Z-MINI 1				Denmans Electrical

Unit 17

Bassendale Road

Bromborough

Wirral

CH62 3QL

Tel: 0151 3344372

Fax:0151 3348819

Surface 600 x 600 Cat 2		NL3532				Newey & Eyre

Argyle Ind. Estate

Appin Road

Birkenhead

Wirral

CH41 9HH

Tel: 0151 6661527

Fax:0151 6500744

2’ dimmable fluorescent		DP118HFR				Dextra Lighting

3’ dimmable fluorescent		DP130HFR				Brickfields Bus. Park

Gillingham

Dorset

SP8 4PX

Tel: 01747 858100

Fax:01747 858145

MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

DIMMERS

18way Tiger pack			TP-06-18				Mode Lighting

Scene controller			TP-SGP-55-BLK			The Maltings

Fascia plate				TP-S-BSS-SS			63 High Street

Ware

Hertfordshire

SG12 9AD

Tel: 01920 462121

Fax:01920 466881

ACCESSORIES

Disabled WC alarm			RDPT-01				CEF Ltd

Brook Street

Off Cathcart Street

Birkenhead

Wirral

CH41 1EL

Tel: 0151 6474128

Fax:0151 6472307

2gang none standard socket	K1246WHI				MK Ltd

None standard plug			647WHI				The Arnold Centre

1gang IP socket			56480GRY				Paycocke Road

2gang cover plate White		K3632WHi				Basildon

6gang cover plate Metal		K3496ALM				Essex

9gang cover plate Metal		K3499ALM				SS14 3EA

2gang mounting frame		K3702

3gang mounting frame		K3703					Tel: 01268 563000

Key grid switch			K4917WHI				Fax:01268 563563

Grid blank				K4880WHI

13amp fuse unit			K4890WHI

10amp grid switch			K4881WHI

MANUFACTURER/COMPONENT DETAILS

Item					Catalogue Number			Manufacturer

Switched spur White		BS20					Denmans Electrical

20amp DP switch White		BS19					Unit 17

2gang switch neon White		BS37					Bassendale Road

1gang 2way switch Chrome	73R21BC/WH			Bromborough

2gang switched socket Chrome	73SS2BC/WH			Wirral

Switched fused spur Chrome	73SPBC/WH				CH62 3QL

Unswitched fused spur Chrome	73FOBC/WH

Tel: 0151 3344372

Fax:0151 3348819

2gang switched socket White	NL8300/2				Newey & Eyre

Switched spur flex outlet White	NL8313S				Argyle Ind. Estate

45amp DP switch White		NL8345/1N				Appin Road

Birkenhead

Wirral

CH41 9HH

Tel: 0151 6661527

Fax:0151 6500744

DISTRIBUTION BOARD LEGEND

Mains Room – MCCB Panel

Crt		Description					Rating	Cable		Size

B1		Spareway

BK2		Spareway

G3		Spareway

B4		Spareway

BK5		Spareway

G6		Spareway

B7		)

BK8		) DB1 72way 				200amp	PVC		95mm

G9		)

B10		Spareway

BK11		Spareway

G12		Spareway

B13		Spareway

BK14		Spareway

G15		Spareway

B16		Spareway

BK17		Spareway

G18		Spareway

DISTRIBUTION BOARD LEGEND

Mains Room – 72way MEM

Crt		Description					Rating	Cable		Size

B1		Spareway

BK2		Spareway

G3		Spareway

B4		Spareway

BK5		Spareway

G6		Spareway

B7		Spareway

BK8		Spareway

G9		Spareway

B10		Spareway

BK11		Beer Cooler					20amp	PVC/PVC	2.5mm

G12		Beer Cooler					20amp	PVC/PVC	2.5mm

B13		Hand Dryer					16amp	PVC/PVC	2.5mm

BK14		Baine Marie					20amp	PVC/PVC	2.5mm

G15		LED Supply					10amp	PVC/PVC	1.5mm

B16		Spareway

BK17		Spareway

G18		Spareway

B19		Sign						10amp	PVC/PVC	1.5mm

BK20		Spareway

G21		Kitchen Ring Clean				16amp	PVC/PVC	2.5mm

B22		Waiter Station Clean			16amp	PVC/PVC	2.5mm

BK23		Waiter Station Dirty				16amp	PVC/PVC	2.5mm

G24		Ignitor Ring					32amp	PVC/PVC	2.5mm

B25		Prep Room Radial				32amp	PVC/PVC	2.5mm

BK26		Beer Store Ring				32amp	PVC/PVC	2.5mm

G27		Back of House Lights			10amp	PVC/PVC	1.5mm

B28		Disabled Alarm				10amp	PVC/PVC	2.5mm

BK29		Disabled Hand Dryer			10amp	PVC/PVC	2.5mm

G30		Cellar Cooler					16amp	PVC/PVC	2.5mm

B31		Walk-in Fridge				32amp	PVC/PVC	6mm

BK32		Ice Machine					32amp	PVC/PVC	6mm

G33		Office Dirty Ring				32amp	PVC/PVC	2.5mm

B34		Office Ring Clean				32amp	PVC/PVC	2.5mm

Crt		Description					Rating	Cable		Size

BK35		DB Main Cloaks				32amp	PVC/PVC	2.5mm

G36		Bar Clean Ring				32amp	PVC/PVC	2.5mm

B37		Spareway

BK38		Spareway

G39		Spareway

B40		Spareway

BK41		Spareway

G42		Spareway

B43		Spareway

BK44		Spareway

G45		Spareway

B46		Spareway

BK47		)

G48		) HVAC					50amp	XLPE/SWA	25mm

B49		)

BK50		Microwave					16amp	PVC/PVC	2.5mm

G51		Clean Waiter Station			20amp	PVC/PVC	2.5mm

B52		Heated Pass					20amp	PVC/PVC	2.5mm

BK53		Ice Cream					20amp	PVC/PVC	2.5mm

G54		Staff Hand Dryer				20amp	PVC/PVC	2.5mm

B55		Micro						32amp	PVC/PVC	2.5mm

BK56		Fire Alarm					16amp	PVC/PVC	2.5mm

G57		Dirty Waiter Station				16amp	PVC/PVC	2.5mm

B58		Micro Rt					16amp	PVC/PVC	2.5mm

BK59		Dishwasher					32amp	PVC/PVC	6mm

G60		Heated Pass					32amp	PVC/PVC	6mm

B61		Coffee Machine				32amp	PVC/PVC	6mm

BK62		Glasswash Bar				32amp	PVC/PVC	6mm

G63		Dirty Ring Bar				32amp	PVC/PVC	2.5mm

B64		Kitchen Ring					32amp	PVC/PVC	2.5mm

BK65		)

G66		) Tiger Pack					63amp	PVC/PVC	6mm

B67		)

BK68		)

G69		) Immersion					16amp	XLPE/SWA	6mm

B70		)

BK71		Spareway

G72		Spareway

SCHEDULE OF LAMPS

Light Descritpion				Reference			Lamp

All emergency lights				ALL				12” 8watt flo tube

AR70 square recessed			Z-MINI 1			50watt QR-LP 70

Recessed 600 x 600			TREM66418			18watt T8 tube

Surface Cat 2 600 x 600			NL3532			18watt  T8 tube

IP LV downlight				R32C				50watt dichroic

2’ dimmable fluorescent			DP118HFR			T8 18watt tube

3’ dimmable fluorescent			DP130HFR			T8 30watt tube